## v2.0.0-beta-rc2
Test UID | Component | RBP | Result | Tested OS | Comments | File
TST.GEN.INST.DETACH_REATTACH | instrument_detaching | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | instrument_detaching_tests.rst
TST.PREF.SAVE_LOAD_SESSION | preferences | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Full bug is described and tracked here: https://github.com/analogdevicesinc/scopy/issues/1906 . | general_preferences_tests.rst
TST.PREF.DOUBLECLICK_ATTACH_DETACH | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.SAVE_LOAD_TOOL_STATE | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.DOUBLECLICK_CONTROL_MENU | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.ENABLE_OPENGL_PLOTTING | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.ENABLE_MENU_ANIMATIONS | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.ENABLE_STATUS_BAR | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.SHOW_GRID | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.SHOW_GRATICULE | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.USE_LAZY_LOADING | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.USE_NATIVE_DIALOGS | preferences | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Works with AppImage installer on a Ubuntu 20.04, fails on Ubuntu 22.04.5 LTS and on Debian 12 on Raspberry Pi. | general_preferences_tests.rst
TST.PREF.AUTO_CONNECT_PREVIOUS_SESSION | preferences | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Test fails only on Windows 10 | general_preferences_tests.rst
TST.PREF.FONT_SCALE | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.THEME | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.LANGUAGE | preferences | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Most text is not translated | general_preferences_tests.rst
TST.PREF.CONNECT_MULTIPLE_DEVICES | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.REGULARLY_SCAN_NEW_DEVICES | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.SESSION_DEVICES | preferences | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Test fails only on Windows 10 | general_preferences_tests.rst
TST.PREF.SHOW_PLOT_FPS | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | general_preferences_tests.rst
TST.PREF.PLOT_TARGET_FPS | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | On Debian 12 on a Raspberry Pi, the FPS does not go higher than 5 or 10 FPS. | general_preferences_tests.rst
TST.PREF.RESET_SETTINGS_DEFAULT | preferences | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Functionality works correctly but the test case is not properly described. | general_preferences_tests.rst
TST.CONN.SUCC | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | connection_tests.rst
TST.CONN.UNPLUG_AUTO | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | connection_tests.rst
TST.CONN.UNPLUG_AUTO | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | connection_tests.rst
TST.CONN.UNPLUG_BEFORE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | connection_tests.rst
TST.CONN.DISCONN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | connection_tests.rst
TST.HP.RUN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.HP.ADD | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.HP.AUTO_SCAN_ON | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.HP.AUTO_SCAN_OFF | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.HP.MANUAL_SCAN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.HP.NAV | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Missing Actual result section in step 6 and 7 | hp_tests.rst
TST.HP.UNPLUGGED | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | hp_tests.rst
TST.LICENSE.POPUP | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | license_about_page_tests.rst
TST.ABOUT.PAGE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Steps 10 and 12 are not needed since there is no need to press the home button | license_about_page_tests.rst
TST.ADD.SCAN_ALL | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.SCAN_LOCAL | core | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Test only fails on Windows 10 | add_dev_tests.rst
TST.ADD.SCAN_IP | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.SCAN_USB | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.SCAN_SERIAL | core | N/A | PASSED | Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.SCAN_EMPTY | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.VERIFY | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.PLUGINS_BACK | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.PLUGINS_ADD_SINGLE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.PLUGINS_ADD_MULTIPLE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.ADD.PLUGINS_EMPTY | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | add_dev_tests.rst
TST.EMU.EN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.NOT | core | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | Windows 10: With the iio-emu not installed in system and a bad preferences path, emulator is still found as long as iio-emu.exe is in the same folder as scopy.exe; macOS 14.5: Unable to locate the preferences.ini | emu_tests.rst
TST.EMU.DIS | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.DIS_CONN | core | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | The iio-emu is disabled and the device is disconnected as expected on Ubuntu 22.04.5 LTS. However, on Debian 12 arm64, | emu_tests.rst
TST.EMU.EN_ADALM2000 | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_PLUTO | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_PQM | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_SWIOT_CONFIG | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_SWIOT_RUNTIME | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_GENERIC | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.HP.DEV_BTN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.FORGET | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.FORGET_CONN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.EDIT_NAME | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.SELECT_TOOL | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.DETACH_TOOL | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.DETACH_TOOL_RE | core | N/A | FAILED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | This functionality verified in this test works with a USB device, | dev_tests.rst
TST.DEV.COLLAPSE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.MULTI_CONN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.RM_MULTI | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.ADD_ORDER | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | PASSED | Ubuntu 22.04.5 LTS | .. | install_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | PASSED | Debian 12 arm64 | .. | install_tests.rst
TST.START.MACOS | core | N/A | PASSED | macOS 14.5 | .. | install_tests.rst
TST.START.WINDOWS | core | N/A | PASSED | Windows 10 | .. | install_tests.rst
TST.ADC_TIME.X_AXIS | adc | N/A | FAILED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME.Y_AXIS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME.XY_PLOT | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME.SETTINGS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME.PRINT | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME.INFO | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.PLOT_NAVIGATION | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_TIME_CHANNEL_SETTINGS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.MEASURE | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.CURSORS | adc | N/A | FAILED | Debian 12 arm64, Windows | For some reason voltage0 and voltage1 are reversed in the test case description. | adc_tests.rst
TST.ADC_FREQ.X_AXIS_SETTINGS | adc | N/A | FAILED | Debian 12 arm64, Windows | There are some inconsistencies with the functionality of the ADC Frequency Instrument. | adc_tests.rst
TST.ADC_FREQ.Y_AXIS_SETTINGS | adc | N/A | PASSED | Debian 12 arm64, Windows | Modify the test cases to remove the ADC Counts mention. | adc_tests.rst
TST.ADC_FREQ.SETTINGS_ADJUSTMENT | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_FREQ.PRINT_PLOT | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_FREQ.VIEW_PLUGIN_DOC | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_FREQ.Y_AXIS_CHANNEL_SETTINGS | adc | N/A | FAILED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.ADC_FREQ.MARKER_SETTINGS | adc | N/A | FAILED | Debian 12 arm64, Windows | The test case description is not clear enough, this is added in a different commit. | adc_tests.rst
TST.ADC_FREQ.CURSOR_SETTINGS | adc | N/A | FAILED | Debian 12 arm64, Windows | Missing TMode selector (or is it the one in preferences?). Measuring samples and not freq | adc_tests.rst
TST.PREF.X_SCALE_POS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.PREF.Y_SCALE_POS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.PREF.CH_HANDLE_POS | adc | N/A | PASSED | Debian 12 arm64, Windows | .. | adc_tests.rst
TST.PREF.X_CURSOR_POS | adc | N/A | FAILED | Debian 12 arm64, Windows | Plot cursor handles always appear on the bottom of the plot, regardless of the preference setting. | adc_tests.rst
TST.PREF.Y_CURSOR_POS | adc | N/A | FAILED | Debian 12 arm64, Windows | Plot cursor handles always appear on the right side of the plot, regardless of the preference setting. | adc_tests.rst
TST.PREF.SHOW_BUFFER | adc | N/A | SKIPPED | Windows | Skipped as the preference no longer exists. | adc_tests.rst
TST.PREF.DEFAULT_YMODE | adc | N/A | PASSED | Debian 12 arm64, Windows | In YMODE general settings the default value is **ADC Counts** while the | adc_tests.rst
TST.DATALOGGER.ENABLE_DISABLE_DATA_LOGGER_CHANNEL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.RUN_STOP_DATA_LOGGING | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.CLEAR_COLLECTED_DATA | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.CLEAR_DATA_WHILE_RUNNING | datalogger | N/A | FAILED | Debian 12 arm64, Windows | Clear while running resets the right point to "0" but the left side is 23:59. | datalogger_tests.rst
TST.DATALOGGER.CREATE_NEW_DATA_LOGGER_TOOL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.REMOVE_A_CREATED_TOOL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_REMOVAL_DISABLED_FOR_DEFAULT_TOOL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.PRINT_COLLECTED_DATA | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.INFO_BUTTON_DOCUMENTATION | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.INFO_BUTTON_TUTORIAL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SETTINGS_CHANGE_DATA_LOGGER_TOOL_NAME | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SET_VALID_X_AXIS_DELTA_VALUE | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.HANDLE_INVALID_X_AXIS_DELTA_VALUE_INPUT | datalogger | N/A | FAILED | Debian 12 arm64, Windows | Writing an invalid value in the X-Axis Delta Value field does not reset the value to the previous one, | datalogger_tests.rst
TST.DATALOGGER.ADJUST_X_AXIS_DELTA_VALUE_USING_BUTTONS | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_X_AXIS_UTC_TIME_DISPLAY | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_X_AXIS_LIVE_PLOTTING | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_Y_AXIS_AUTOSCALE | datalogger | N/A | PASSED | Debian 12 arm64, Windows | No space in between autoscale button and "+"" button underneath | datalogger_tests.rst
TST.DATALOGGER.SET_Y_AXIS_MIN_MAX_VALUES | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.ADJUST_CURVE_THICKNESS | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.CHANGE_CURVE_STYLE | datalogger | N/A | PASSED | Debian12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.ADJUST_PLOT_DISPLAY_SETTINGS | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_PLOT_DISPLAY_METHOD | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_PLAIN_TEXT_DISPLAY_METHOD | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_7_SEGMENT_DISPLAY_METHOD | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_BETWEEN_DISPLAY_METHODS | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SET_7_SEGMENT_DISPLAY_PRECISION | datalogger | N/A | FAILED | Debian 12 arm64, Windows | Failed due to input not being validated if a anything different than a digit is entered. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_7_SEGMENT_MIN_MAX_DISPLAY | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.CHOOSE_FILE_FOR_DATA_LOGGING | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SAVE_COLLECTED_DATA_TO_FILE | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.ENABLE_LIVE_DATA_LOGGING | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.IMPORT_DATA_FROM_FILE | datalogger | N/A | FAILED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SET_MAXIMUM_CHANNEL_DATA_STORAGE | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SET_DATA_LOGGER_READ_INTERVAL | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.DATALOGGER.SET_X_AXIS_DATE_TIME_FORMAT | datalogger | N/A | PASSED | Debian 12 arm64, Windows | .. | datalogger_tests.rst
TST.REGMAP.READ | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.WRITE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.WRITE_WRONG_VALUE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.CHANGE_DEVICE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SHOW_TABLE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SEARCH | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SIMPLE_REGISTER_VALUE_UPDATED_ON_READ | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SIMPLE_REGISTER_VALUE_UPDATED_ON_WRITE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.DETAILED_REGISTER_VALUE_UPDATED_ON_READ | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.DETAILED_REGISTER_VALUE_UPDATED_ON_WRITE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.CHANGE_BITFIELD_VALUE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.CHANGE_VALUE_FIELD | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.CHANGE_SELECTED_REGISTER | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.TOGGLE_DETAILED_REGISTER_VISIBLE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_AUTOREAD | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_READ_INTERVAL | registermap | N/A | PASSED | Debian 12 arm64, Windows | Would increase the range, easier to observe if more values are updated | registermap_tests.rst
TST.REGMAP.SETTINGS_READ_INTERVAL_WRONG_INTERVAL | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_REGISTER_DUMP | registermap | N/A | FAILED | Debian 12 arm64, Windows | Pressing the **Register dump** button multiple times will duplicate data. | registermap_tests.rst
TST.REGMAP.SETTINGS_WRITE_VALUES | registermap | N/A | FAILED | Debian 12 arm64, Windows | This is linked to the previous test of data duplication. | registermap_tests.rst
TST.REGMAP.SETTINGS_DUMP_REGIS_AND_WRITE_VALUES_DISABLED | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLOR_CODING_TEXT_COLOR | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLORS_VALUE_RANGE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLOR_CODING_DYNAMIC_CHANGE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_SETTINGS_SAVE_ON_CLOSE | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_DOCUMENTATION | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_TUTORIAL | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_TUTORIAL_NO_XML | registermap | N/A | PASSED | Debian 12 arm64, Windows | .. | registermap_tests.rst
TST.REGMAP.CUSTOM_XML_FILE | registermap | N/A | PASSED | Debian 12 arm64, Windows | Tested on Debian on a RPi instead of Windows by extracting the AppImage and adding the test XML. | registermap_tests.rst
TST.PQM.RMS_OPEN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_INFO | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_SINGLE | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_RUN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_SETTINGS | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_LOG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_LOG_WRONG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.RMS_PQEVENTS | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_OPEN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_INFO | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_SINGLE | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_RUN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_TABLE | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_SETTINGS | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_LOG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_LOG_WRONG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.HARMONICS_PQEVENTS | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_OPEN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_INFO | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS_TIMESPAN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS_ROLLING | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SINGLE_TRIG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SINGLE_ROLL | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_RUN_TRIG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_RUN_ROLL | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_PLOT_ZOOM | pqm | N/A | PASSED | Windows 10, Linux-arm64 | On Linux-arm64, on zoom out, the plot magnifier will not dissapear on plot 1 if zooming out from plot 2 (or vice versa) | pqm_tests.rst
TST.PQM.WAVEFORM_LOG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.WAVEFORM_LOG_WRONG | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.SETTINGS_OPEN | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.SETTINGS_READ | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.PQM.SETTINGS_WRITE | pqm | N/A | PASSED | Windows 10, Linux-arm64 | .. | pqm_tests.rst
TST.DAC.COMPAT | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.BUFFER_LOAD | dac | N/A | FAILED | Debian 12 arm64, Windows | Clicking **Load** using a different file while the DAC is running generates a crash. | dac_tests.rst
TST.DAC.BUFFER_CHANNEL_SELECT | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.BUFFER_FILE_SIZE | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.BUFFER_CYCLIC | dac | N/A | FAILED | Debian 12 arm64, Windows | When tested on the RPi, the DAC in Buffer mode seems to generate a distorted sinewave, | dac_tests.rst
TST.DAC.DDS_MODES | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.DDS_SINEWAVE | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.DDS_ATTRS | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.TUTORIAL | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
TST.DAC.CHANNEL_ATTRS | dac | N/A | PASSED | Debian 12 arm64, Windows | .. | dac_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_tests.rst
N/A | debugger | N/A | PASSED | Debian 12 arm64, Windows | .. | debugger_preferences_tests.rst
N/A | debugger | N/A | FAILED | Debian 12 arm64, Windows | The preference should flag the application to request a restart, otherwise the preference is not applied. | debugger_preferences_tests.rst
TST.M2K.SA.CHANNEL_1_OPERATION | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | Some steps need to be updated because the tool has changed over time. | spectrum_analyzer_tests.rst
TST.M2K.SA.CHANNEL_2_OPERATION | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | Some steps need to be updated because the tool has changed over time. | spectrum_analyzer_tests.rst
TST.M2K.SA.CHANNEL_1_AND_2_OPERATION | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | spectrum_analyzer_tests.rst
TST.M2K.SA.ADDITIONAL_FEATURES | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | The reference pictures are missing. | spectrum_analyzer_tests.rst
TST.NA.LOWPASS_CH1_340HZ | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
TST.NA.LOWPASS_CH2_340HZ | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
TST.NA.LOWPASS_CH1_1_59MHZ | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | On step 1 configuration max stop value is 25MHz test is done using this. | network_analyzer_tests.rst
TST.NA.HIGHPASS_CH1_340HZ | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
TST.NA.BANDPASS_CH1 | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
TST.NA.BANDSTOP_CH1 | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
N/A | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | File format is not PDF | network_analyzer_tests.rst
N/A | m2k | N/A | PASSED | Windows ADI, macOS 14.5 M2 processor | None. | network_analyzer_tests.rst
TST.M2K.PG.INDIVIDUAL_CHANNEL_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | The Duty Cycle measurement is unreliable, it often displays "--". | pattern_generator_tests.rst
TST.M2K.PG.GROUP_CHANNEL_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | pattern_generator_tests.rst
TST.M2K.PG.SIMULTANEOUS_GROUP_AND_INDIVIDUAL_CHANNELS_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | pattern_generator_tests.rst
TST.M2K.PG.OTHER_FEATURES | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | pattern_generator_tests.rst
TST.LOGIC.CHN_TRIGGER | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Fail at step 5, due to Digital IO not working issue reported here `#1903 https://github.com/analogdevicesinc/scopy/issues/1903 >` | logic_analyzer_tests.rst
TST.LOGIC.EXT_CHN_TRIGGER | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Fail at step 5, due to Digital IO not working issue reported here `#1903 https://github.com/analogdevicesinc/scopy/issues/1903 >` | logic_analyzer_tests.rst
TST.LOGIC.OSC_EXT_TRIGGER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | The instructions are confusing, the first steps are lacking setup information. | logic_analyzer_tests.rst
TST.LOGIC.TRIGGER_MODES | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Fail at step 5, due to Digital IO not working issue reported here `#1903 https://github.com/analogdevicesinc/scopy/issues/1903 >` | logic_analyzer_tests.rst
TST.LOGIC.CLOCK_SIGNAL | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.PARALLEL_DECODER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.SPI_DECODER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.UART_DECODER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.PWM_DECODER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.CHN_VISUAL | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.EXPORT | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.PRINT_PLOT | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | logic_analyzer_tests.rst
TST.LOGIC.DECODER_TABLE | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | The "^3$" regex from step 7 doesn't display anything on macOS. | logic_analyzer_tests.rst
TST.GEN.SETUP.INSTALL | m2k | N/A | PASSED | WindowsADI | This test is only valid for the Windows installer. | general_settings_tests.rst
TST.GEN.SETUP.M2KCONN | m2k | N/A | FAILED | WindowsADI, macOS M2 processor | Step 6 fails on macOS because Scopy can't find the ip context for the M2K and because of this the next steps are also failing. On Windows all steps work as expected. | general_settings_tests.rst
TST.GEN.SETUP.SAVELOAD | m2k | N/A | PASSED | WindowsADI, macOS M2 processor | The paths for the default .ini file are different depending on the operating system. | general_settings_tests.rst
TST.GEN.SETUP.PREFERENCES | m2k | N/A | FAILED | WindowsADI, macOS M2 processor | on step 5 Can't find “Show advanced device information.” settings. | general_settings_tests.rst
TST.OSC.TIME_VOLTS_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.POSITION_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.CONSTANT_SIGNAL_1 | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | see actual result on point 6 | oscilloscope_tests.rst
TST.OSC.SINE_WAVE_SIGNAL_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.SQUARE_WAVE_SIGNAL_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | See actual result on point 4 and 5. | oscilloscope_tests.rst
TST.OSC.TRIANGLE_WAVE_SIGNAL_1 | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | For step 5, the Time base of 5us/dev and the signal frequency of 20kHz displays 2 periods, not 6 as in the Expected result. In order to display 6 triangle waves, the time base should be 20us/div. And at step 4, the unit of measure for RMS is displayed as V, not Vrms. | oscilloscope_tests.rst
TST.OSC.RAMP_SAWTOOTH_WAVE_SIGNAL_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | The Peak-peak value is a little higher than expected. | oscilloscope_tests.rst
TST.OSC.CURSOR_READING_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.TRIGGER_FUNCTION_1 | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.MATH_CHANNEL | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | On macOS there were a few occasional crashes when editing or removing a math channel. | oscilloscope_tests.rst
TST.OSC.FFT_FUNCTION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | On macOS the information displayed by having the mouse cursor inside the plot is not properly fitted. | oscilloscope_tests.rst
TST.OSC.XY_FUNCTION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.EXPORT_FEATURE | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.SOFTWARE_AC_COUPLING | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | .. | oscilloscope_tests.rst
TST.OSC.PROBE_ATTENUATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.EXTERNAL_TRIGGER | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.AUTOSET | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Autoset button, sets the trigger level and the time base to wrong values. | oscilloscope_tests.rst
TST.OSC.PRINT_PLOT | m2k | N/A | SKIPPED | WindowsADI, macOS 14.5 M2 processor | As step 5 the screenshot does not have inverted colors if the Light Theme for Scopy is used. | oscilloscope_tests.rst
TST.OSC.CURVE_STYLE | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.GATING | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.HISTOGRAM | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | oscilloscope_tests.rst
TST.OSC.ADC_DIGITAL_FILTERS | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.DIO.INDIVIDUAL | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Signals not connected correctly issue reported here `#1903 <https://github.com/analogdevicesinc/scopy/issues/1903>`_ | digital_io_tests.rst
TST.DIO.GROUP | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | Signals not connected correctly issue reported here `#1903 <https://github.com/analogdevicesinc/scopy/issues/1903>`_ | digital_io_tests.rst
TST.M2K.SG.CHANNEL_1_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | signal_generator_tests.rst
TST.M2K.SG.CHANNEL_2_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | signal_generator_tests.rst
TST.M2K.SG.CHANNEL_1_AND_CHANNEL_2_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | signal_generator_tests.rst
TST.M2K.SG.ADDITIONAL_FEATURES | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | On macOS inside the signal generator buffer tab, the .mat files can't be loaded. Some tests need to be updated. The references to other pictures should be removed. | signal_generator_tests.rst
TST.PS.POSITIVE | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | power_supply_tests.rst
TST.PS.NEGATIVE | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | power_supply_tests.rst
TST.PS.FINE_TUNING | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | power_supply_tests.rst
TST.PS.TRACKING | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | power_supply_tests.rst
TST.M2K.VOLTMETER.CHANNEL_1_OPERATION | m2k | N/A | PASSED | WindowsADI | A little bit lower RMS values for some high frequency signals. A cause may be the resistance of the wires used. | voltmeter_tests.rst
TST.M2K.VOLTMETER.CHANNEL_2_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | voltmeter_tests.rst
TST.M2K.VOLTMETER.CHANNEL_1_AND_CHANNEL_2_OPERATION | m2k | N/A | PASSED | WindowsADI, macOS 14.5 M2 processor | None. | voltmeter_tests.rst
TST.M2K.VOLTMETER.ADDITIONAL_FEATURES | m2k | N/A | FAILED | WindowsADI, macOS 14.5 M2 processor | - steps 18 to 26 can't be performed because the "Browse" button does nothing when clicked ( this happens on Windows and macOS ) | voltmeter_tests.rst
N/A | swiot1l | N/A | FAILED | Linux-arm64, Windows 10 | The iio-emu is not found for Linux-arm64. Issue #1904 opened. On Windows it works. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | FAILED | Linux-arm64, Windows 10 | Failed at step 4, arm64. Issue #1905 opened. | swiot1l_tests.rst
N/A | swiot1l | N/A | FAILED | Linux-arm64, Windows 10 | The test should be a success, but step 5 is wrong, so it fails. No issue was created, but the tests will be changed. | swiot1l_tests.rst
N/A | swiot1l | N/A | FAILED | Linux-arm64, Windows 10 | Test 6 fails. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Linux-arm64, Windows 10 | .. | swiot1l_tests.rst

## v2.0.0-beta-rc3
Test UID | Component | RBP | Result | Tested OS | Comments | File
TST.GEN.INST.DETACH_REATTACH | instrument_detaching | N/A | SKIPPED | .. | .. | instrument_detaching_tests.rst
TST.PREF.SAVE_LOAD_SESSION | preferences | N/A | PASSED | ALL | .. | general_preferences_tests.rst
TST.PREF.DOUBLECLICK_ATTACH_DETACH | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.SAVE_LOAD_TOOL_STATE | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.DOUBLECLICK_CONTROL_MENU | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.ENABLE_OPENGL_PLOTTING | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.ENABLE_MENU_ANIMATIONS | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.ENABLE_STATUS_BAR | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.SHOW_GRID | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.SHOW_GRATICULE | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.USE_LAZY_LOADING | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.USE_NATIVE_DIALOGS | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.AUTO_CONNECT_PREVIOUS_SESSION | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.FONT_SCALE | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.THEME | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.LANGUAGE | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.CONNECT_MULTIPLE_DEVICES | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.REGULARLY_SCAN_NEW_DEVICES | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.SESSION_DEVICES | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.SHOW_PLOT_FPS | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.PLOT_TARGET_FPS | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.PREF.RESET_SETTINGS_DEFAULT | preferences | N/A | SKIPPED | .. | .. | general_preferences_tests.rst
TST.CONN.SUCC | core | N/A | SKIPPED | .. | .. | connection_tests.rst
TST.CONN.UNPLUG_AUTO | core | N/A | SKIPPED | .. | .. | connection_tests.rst
TST.CONN.UNPLUG_AUTO | core | N/A | SKIPPED | .. | .. | connection_tests.rst
TST.CONN.UNPLUG_BEFORE | core | N/A | SKIPPED | .. | .. | connection_tests.rst
TST.CONN.DISCONN | core | N/A | SKIPPED | .. | .. | connection_tests.rst
TST.HP.RUN | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.ADD | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.AUTO_SCAN_ON | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.AUTO_SCAN_OFF | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.MANUAL_SCAN | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.NAV | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.HP.UNPLUGGED | core | N/A | SKIPPED | .. | .. | hp_tests.rst
TST.LICENSE.POPUP | core | N/A | SKIPPED | .. | .. | license_about_page_tests.rst
TST.ABOUT.PAGE | core | N/A | SKIPPED | .. | .. | license_about_page_tests.rst
TST.ADD.SCAN_ALL | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.SCAN_LOCAL | core | N/A | PASSED | Ubuntu 22.04.5 LTS | .. | add_dev_tests.rst
TST.ADD.SCAN_IP | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.SCAN_USB | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.SCAN_SERIAL | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.SCAN_EMPTY | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.VERIFY | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.PLUGINS_BACK | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.PLUGINS_ADD_SINGLE | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.PLUGINS_ADD_MULTIPLE | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.ADD.PLUGINS_EMPTY | core | N/A | SKIPPED | .. | .. | add_dev_tests.rst
TST.EMU.EN | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.NOT | core | N/A | PASSED | Windows, Linux-x86_64, Linux-arm64, Linux-arm32, macOS. | .. | emu_tests.rst
TST.EMU.DIS | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.DIS_CONN | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | emu_tests.rst
TST.EMU.EN_ADALM2000 | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.EN_PLUTO | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.EN_PQM | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.EN_SWIOT_CONFIG | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.EN_SWIOT_RUNTIME | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.EMU.EN_GENERIC | core | N/A | SKIPPED | .. | .. | emu_tests.rst
TST.HP.DEV_BTN | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.FORGET | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.FORGET_CONN | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.EDIT_NAME | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.SELECT_TOOL | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.DETACH_TOOL | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.DETACH_TOOL_RE | core | N/A | PASSED | Ubuntu 22.04.5 LTS, Debian 12 arm64, Windows 10, macOS 14.5 | .. | dev_tests.rst
TST.DEV.COLLAPSE | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.MULTI_CONN | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.RM_MULTI | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.DEV.ADD_ORDER | core | N/A | SKIPPED | .. | .. | dev_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.START.APPIMAGE.X86_64 | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.START.MACOS | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.START.WINDOWS | core | N/A | SKIPPED | .. | .. | install_tests.rst
TST.ADC_TIME.X_AXIS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.ADC_TIME.Y_AXIS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_TIME.XY_PLOT | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_TIME.SETTINGS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_TIME.PRINT | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_TIME.INFO | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PLOT_NAVIGATION | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_TIME_CHANNEL_SETTINGS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.MEASURE | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.CURSORS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.ADC_FREQ.X_AXIS_SETTINGS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.ADC_FREQ.Y_AXIS_SETTINGS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_FREQ.SETTINGS_ADJUSTMENT | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_FREQ.PRINT_PLOT | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_FREQ.VIEW_PLUGIN_DOC | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.ADC_FREQ.Y_AXIS_CHANNEL_SETTINGS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.ADC_FREQ.MARKER_SETTINGS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.ADC_FREQ.CURSOR_SETTINGS | adc | N/A | PASSED | Ubuntu 20.04 | .. | adc_tests.rst
TST.PREF.X_SCALE_POS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PREF.Y_SCALE_POS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PREF.CH_HANDLE_POS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PREF.X_CURSOR_POS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PREF.Y_CURSOR_POS | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.PREF.DEFAULT_YMODE | adc | N/A | SKIPPED | .. | .. | adc_tests.rst
TST.DATALOGGER.ENABLE_DISABLE_DATA_LOGGER_CHANNEL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.RUN_STOP_DATA_LOGGING | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.CLEAR_COLLECTED_DATA | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.CLEAR_DATA_WHILE_RUNNING | datalogger | N/A | PASSED | Ubuntu 20.04 | .. | datalogger_tests.rst
TST.DATALOGGER.CREATE_NEW_DATA_LOGGER_TOOL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.REMOVE_A_CREATED_TOOL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_REMOVAL_DISABLED_FOR_DEFAULT_TOOL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.PRINT_COLLECTED_DATA | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.INFO_BUTTON_DOCUMENTATION | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.INFO_BUTTON_TUTORIAL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SETTINGS_CHANGE_DATA_LOGGER_TOOL_NAME | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SET_VALID_X_AXIS_DELTA_VALUE | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.HANDLE_INVALID_X_AXIS_DELTA_VALUE_INPUT | datalogger | N/A | PASSED | Ubuntu 20.04 | there is a bug regarding input validation which will be handled in v2.1 | datalogger_tests.rst
TST.DATALOGGER.ADJUST_X_AXIS_DELTA_VALUE_USING_BUTTONS | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_X_AXIS_UTC_TIME_DISPLAY | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_X_AXIS_LIVE_PLOTTING | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_Y_AXIS_AUTOSCALE | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SET_Y_AXIS_MIN_MAX_VALUES | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.ADJUST_CURVE_THICKNESS | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.CHANGE_CURVE_STYLE | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.ADJUST_PLOT_DISPLAY_SETTINGS | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_PLOT_DISPLAY_METHOD | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_PLAIN_TEXT_DISPLAY_METHOD | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.VERIFY_7_SEGMENT_DISPLAY_METHOD | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_BETWEEN_DISPLAY_METHODS | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SET_7_SEGMENT_DISPLAY_PRECISION | datalogger | N/A | PASSED | Ubuntu 20.04 | .. | datalogger_tests.rst
TST.DATALOGGER.TOGGLE_7_SEGMENT_MIN_MAX_DISPLAY | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.CHOOSE_FILE_FOR_DATA_LOGGING | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SAVE_COLLECTED_DATA_TO_FILE | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.ENABLE_LIVE_DATA_LOGGING | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.IMPORT_DATA_FROM_FILE | datalogger | N/A | PASSED | Ubuntu 20.04 | .. | datalogger_tests.rst
TST.DATALOGGER.SET_MAXIMUM_CHANNEL_DATA_STORAGE | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SET_DATA_LOGGER_READ_INTERVAL | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.DATALOGGER.SET_X_AXIS_DATE_TIME_FORMAT | datalogger | N/A | SKIPPED | .. | .. | datalogger_tests.rst
TST.REGMAP.READ | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.WRITE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.WRITE_WRONG_VALUE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.CHANGE_DEVICE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SHOW_TABLE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SEARCH | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SIMPLE_REGISTER_VALUE_UPDATED_ON_READ | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SIMPLE_REGISTER_VALUE_UPDATED_ON_WRITE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.DETAILED_REGISTER_VALUE_UPDATED_ON_READ | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.DETAILED_REGISTER_VALUE_UPDATED_ON_WRITE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.CHANGE_BITFIELD_VALUE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.CHANGE_VALUE_FIELD | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.CHANGE_SELECTED_REGISTER | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.TOGGLE_DETAILED_REGISTER_VISIBLE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_AUTOREAD | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_READ_INTERVAL | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_READ_INTERVAL_WRONG_INTERVAL | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_REGISTER_DUMP | registermap | N/A | PASSED | Ubuntu 20.04 | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_WRITE_VALUES | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.SETTINGS_DUMP_REGIS_AND_WRITE_VALUES_DISABLED | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLOR_CODING_TEXT_COLOR | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLORS_VALUE_RANGE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_COLOR_CODING_DYNAMIC_CHANGE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.PREFERENCES_SETTINGS_SAVE_ON_CLOSE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_DOCUMENTATION | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_TUTORIAL | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.INFO_BUTTON_TUTORIAL_NO_XML | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.REGMAP.CUSTOM_XML_FILE | registermap | N/A | SKIPPED | .. | .. | registermap_tests.rst
TST.PQM.RMS_OPEN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_INFO | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_SINGLE | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_RUN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_SETTINGS | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_LOG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_LOG_WRONG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.RMS_PQEVENTS | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_OPEN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_INFO | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_SINGLE | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_RUN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_TABLE | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_SETTINGS | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_LOG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_LOG_WRONG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.HARMONICS_PQEVENTS | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_OPEN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_INFO | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS_TIMESPAN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SETTINGS_ROLLING | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SINGLE_TRIG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_SINGLE_ROLL | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_RUN_TRIG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_RUN_ROLL | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_PLOT_ZOOM | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_LOG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.WAVEFORM_LOG_WRONG | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.SETTINGS_OPEN | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.SETTINGS_READ | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.PQM.SETTINGS_WRITE | pqm | N/A | SKIPPED | .. | .. | pqm_tests.rst
TST.DAC.COMPAT | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.BUFFER_LOAD | dac | N/A | PASSED | Ubuntu 20.04 | .. | dac_tests.rst
TST.DAC.BUFFER_CHANNEL_SELECT | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.BUFFER_FILE_SIZE | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.BUFFER_CYCLIC | dac | N/A | PASSED | Debian 12 arm64 | .. | dac_tests.rst
TST.DAC.DDS_MODES | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.DDS_SINEWAVE | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.DDS_ATTRS | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.TUTORIAL | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.CHANNEL_ATTRS | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
TST.DAC.REPEAT_DATA | dac | N/A | SKIPPED | .. | .. | dac_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_tests.rst
N/A | debugger | N/A | SKIPPED | .. | .. | debugger_preferences_tests.rst
N/A | debugger | N/A | PASSED | Ubuntu 20.04 | .. | debugger_preferences_tests.rst
TST.M2K.SA.CHANNEL_1_OPERATION | m2k | N/A | SKIPPED | .. | .. | spectrum_analyzer_tests.rst
TST.M2K.SA.CHANNEL_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | spectrum_analyzer_tests.rst
TST.M2K.SA.CHANNEL_1_AND_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | spectrum_analyzer_tests.rst
TST.M2K.SA.ADDITIONAL_FEATURES | m2k | N/A | SKIPPED | .. | .. | spectrum_analyzer_tests.rst
TST.NA.LOWPASS_CH1_340HZ | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.NA.LOWPASS_CH2_340HZ | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.NA.LOWPASS_CH1_1_59MHZ | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.NA.HIGHPASS_CH1_340HZ | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.NA.BANDPASS_CH1 | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.NA.BANDSTOP_CH1 | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
N/A | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
N/A | m2k | N/A | SKIPPED | .. | .. | network_analyzer_tests.rst
TST.M2K.PG.INDIVIDUAL_CHANNEL_OPERATION | m2k | N/A | SKIPPED | .. | .. | pattern_generator_tests.rst
TST.M2K.PG.GROUP_CHANNEL_OPERATION | m2k | N/A | SKIPPED | .. | .. | pattern_generator_tests.rst
TST.M2K.PG.SIMULTANEOUS_GROUP_AND_INDIVIDUAL_CHANNELS_OPERATION | m2k | N/A | SKIPPED | .. | .. | pattern_generator_tests.rst
TST.M2K.PG.OTHER_FEATURES | m2k | N/A | SKIPPED | .. | .. | pattern_generator_tests.rst
TST.LOGIC.CHN_TRIGGER | m2k | N/A | PASSED | Ubuntu 20.04 | .. | logic_analyzer_tests.rst
TST.LOGIC.EXT_CHN_TRIGGER | m2k | N/A | PASSED | Ubuntu 20.04 | .. | logic_analyzer_tests.rst
TST.LOGIC.OSC_EXT_TRIGGER | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.TRIGGER_MODES | m2k | N/A | PASSED | Ubuntu 20.04 | .. | logic_analyzer_tests.rst
TST.LOGIC.CLOCK_SIGNAL | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.PARALLEL_DECODER | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.SPI_DECODER | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.UART_DECODER | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.PWM_DECODER | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.CHN_VISUAL | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.EXPORT | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.PRINT_PLOT | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.LOGIC.DECODER_TABLE | m2k | N/A | SKIPPED | .. | .. | logic_analyzer_tests.rst
TST.GEN.SETUP.M2KCONN | m2k | N/A | PASSED | WindowsADI, macOS M2 processor | .. | general_settings_tests.rst
TST.GEN.SETUP.SAVELOAD | m2k | N/A | SKIPPED | .. | .. | general_settings_tests.rst
TST.GEN.SETUP.PREFERENCES | m2k | N/A | PASSED | Ubuntu 22.10 | .. | general_settings_tests.rst
TST.OSC.TIME_VOLTS_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.POSITION_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.CONSTANT_SIGNAL_1 | m2k | N/A | PASSED | Ubuntu 20.04 | .. | oscilloscope_tests.rst
TST.OSC.SINE_WAVE_SIGNAL_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.SQUARE_WAVE_SIGNAL_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.TRIANGLE_WAVE_SIGNAL_1 | m2k | N/A | PASSED | Ubntu 20.04 | .. | oscilloscope_tests.rst
TST.OSC.RAMP_SAWTOOTH_WAVE_SIGNAL_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.CURSOR_READING_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.TRIGGER_FUNCTION_1 | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.MATH_CHANNEL | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.FFT_FUNCTION | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.XY_FUNCTION | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.EXPORT_FEATURE | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.SOFTWARE_AC_COUPLING | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.PROBE_ATTENUATION | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.EXTERNAL_TRIGGER | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.AUTOSET | m2k | N/A | PASSED | Ubuntu 20.04 | .. | oscilloscope_tests.rst
TST.OSC.PRINT_PLOT | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.CURVE_STYLE | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.GATING | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.HISTOGRAM | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.OSC.ADC_DIGITAL_FILTERS | m2k | N/A | SKIPPED | .. | .. | oscilloscope_tests.rst
TST.DIO.INDIVIDUAL | m2k | N/A | PASSED | Ubuntu 20.04 | .. | digital_io_tests.rst
TST.DIO.GROUP | m2k | N/A | PASSED | Ubuntu 20.04 | .. | digital_io_tests.rst
TST.DIO.INDIVIDUAL.VOLTMETER | m2k | N/A | PASSED | Ubuntu 20.04 | .. | digital_io_tests.rst
TST.M2K.SG.CHANNEL_1_OPERATION | m2k | N/A | SKIPPED | .. | .. | signal_generator_tests.rst
TST.M2K.SG.CHANNEL_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | signal_generator_tests.rst
TST.M2K.SG.CHANNEL_1_AND_CHANNEL_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | signal_generator_tests.rst
TST.M2K.SG.ADDITIONAL_FEATURES | m2k | N/A | PASSED | Ubuntu 20.04 | .. | signal_generator_tests.rst
TST.PS.POSITIVE | m2k | N/A | SKIPPED | .. | .. | power_supply_tests.rst
TST.PS.NEGATIVE | m2k | N/A | SKIPPED | .. | .. | power_supply_tests.rst
TST.PS.FINE_TUNING | m2k | N/A | SKIPPED | .. | .. | power_supply_tests.rst
TST.PS.TRACKING | m2k | N/A | SKIPPED | .. | .. | power_supply_tests.rst
TST.M2K.VOLTMETER.CHANNEL_1_OPERATION | m2k | N/A | SKIPPED | .. | .. | voltmeter_tests.rst
TST.M2K.VOLTMETER.CHANNEL_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | voltmeter_tests.rst
TST.M2K.VOLTMETER.CHANNEL_1_AND_CHANNEL_2_OPERATION | m2k | N/A | SKIPPED | .. | .. | voltmeter_tests.rst
TST.M2K.VOLTMETER.ADDITIONAL_FEATURES | m2k | N/A | PASSED | Ubuntu 20.04 | .. | voltmeter_tests.rst
N/A | swiot1l | N/A | PASSED | Debian 12 arm64 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Debian 12 arm64 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Ubuntu 20.04 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | PASSED | Debian 12 arm64 | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst
N/A | swiot1l | N/A | SKIPPED | .. | .. | swiot1l_tests.rst